## Slide 1
Human Hand
Exo-Prosthesis
UNIVERSITÀ DEGLI STUDI DI NAPOLI FEDERICO II, NAPOLI, ITALY

## Slide 2
COMPONETS
Lycra Glove
Hand Support
3D Printed
Patient-shape
Prostethis Thumb
3D Printed
Tendon actuation
Antagonist action based on the intrinsic material stiffness

## Slide 3
Exo-Prostethis Evolution
Thumb Evolution
Hand Support Evolution

## Slide 4
MOTION
Opening/Closing hand related to the elbow movement
The motion is trasmitted by tendos that runs form the forarm to the finger
Arm extension cause hand grasping
Velcro Strap
Main Tendon
Finger Tendons

## Slide 5
MOTION

## Slide 6
LOCK GRASPING SYSTEM
Goal
Keep the graping during the arm movements
Possible solutions
Open Bionics Locker
Circular Locker
Linear Locker